Title of Mini Project : IoT-Enabled Distributed SCADA & Machine Learning-Based Predictive Anomaly Detection for Multi-Process Industrial Systems

Aim of Project [ 8-10 Lines ] :

The aim of this project is to design and build a low-cost, distributed SCADA system for a multi-hazard process plant consisting of a water tank, a pump, a drain valve and gas and thermal hazards. An ESP32 edge node acquires tank level, process temperature, combustible gas, pump current, ambient conditions and supply voltage, applies fail-safe interlocks locally and serves the data over Modbus TCP. LabVIEW provides supervisory monitoring and control, and a Python FastAPI bridge enforces deterministic safety rules while hosting an advisory machine-learning layer. The models detect anomalies (robust covariance envelope and Isolation Forest), classify nine fault conditions (Random Forest), estimate pump health, compensate the MQ-2 gas sensor for temperature and humidity, and forecast when process limits will be reached. A React web HMI with a 3D digital twin displays live predictions and alerts, so developing faults are caught before they cause a trip, while actuator control remains purely rule-based.

Name of the Members with Roll No. :

1. Eklavya Vaid (B117), B.Tech (Computer Engineering)

2. Arka Dhamani (A103), B.Tech (Information Technology)

3. Krishna Solanki (I075), MBA Tech (Information Technology)

Semester : V

Program : B.Tech (CE / IT) and MBA Tech (IT), Subject: SCADA, Guide: Dr. Dattatray Sawant

Outcomes of Project

1. A working ESP32 edge node that reads six sensor channels, drives the pump, drain valve and exhaust fan, and exposes the plant over Modbus TCP with fail-safe local interlocks.

2. A LabVIEW supervisory application that polls the node, scales the data and exchanges JSON telemetry and actuator commands with the Python bridge.

3. A FastAPI bridge that validates telemetry and enforces the same deterministic safety thresholds as the firmware.

4. Trained and evaluated machine-learning models for anomaly detection, fault classification (96% accuracy on simulated test data), pump health and MQ-2 calibration, with every detection alerted and logged.

5. A web HMI with a 3D digital twin, a predictive analytics panel and alert notifications.

6. Hands-on understanding of SCADA architecture, industrial protocols, sensor interfacing and data-driven condition monitoring.